# PROJECT HANDOVER REPORT

## OptAM-MPC: Open Advanced Process Control

Prepared for: Dirk Pretorius
From: [Your Name]
Date: [Current Date]
Project Status: Active Development - Beta Phase

## 1. PROJECT OVERVIEW

### 1.1 What is OptAM-MPC?

OptAM-MPC is an open-source Model Predictive Control (MPC) package designed for industrial process control applications. The project aims to make advanced process control accessible to engineers who need robust, easy-to-deploy MPC solutions without the complexity and cost of commercial packages.

### 1.2 Project Goals

- Primary Goal: Create a complete, deployable MPC package for industrial use

- Secondary Goal: Provide digital twin capabilities for testing and validation

- Long-term Goal: Open-source alternative to commercial APC software

### 1.3 Current Status

Working Features:

- Nonlinear MPC with SLSQP optimizer

- Linear process models (FOPDT, Integrating)

- Nonlinear process models (CSTR)

- OPC UA communication (server and client)

- Digital twin simulation

- Real-time web dashboard

- Data logging (CSV format)

- Configuration via YAML files

- Comprehensive test suite (27+ tests passing)

- Two-window architecture (separate simulator and controller)

Not Yet Implemented:

- Linear MPC with QP solver (intentionally deferred)

- Alarm management (intentionally deferred - needs careful design)

- State estimation/Kalman filter

- Model identification tools

- Production deployment features

### 1.4 Key Achievements

- Working end-to-end MPC system

- OPC UA integration tested and functional

- Digital twin with realistic process simulation

- Configuration system with validation

- Clean separation between simulator and controller

## 2. SYSTEM ARCHITECTURE

### 2.1 High-Level Architecture

text

┌─────────────────────────────────────────────────────────────┐

│                    OptAM-MPC Package                        │

├─────────────────────────────────────────────────────────────┤

│                                                             │

│  ┌──────────────┐    ┌──────────────┐    ┌──────────────┐ │

│  │   Models     │    │  Controller  │    │  Interfaces  │ │

│  │              │    │              │    │              │ │

│  │ Process      │───▶│ MPC          │───▶│ OPC UA       │ │

│  │ MIMOFOPDT    │    │ Controller   │    │ Server       │ │

│  │ Integrating  │    │              │    │ Client       │ │

│  │ Nonlinear    │    │ Optimization │    │ Dashboard    │ │

│  └──────────────┘    └──────────────┘    └──────────────┘ │

│                                                             │

│  ┌──────────────┐    ┌──────────────┐    ┌──────────────┐ │

│  │   Config     │    │   Utils      │    │  Examples    │ │

│  │              │    │              │    │              │ │

│  │ YAML Loader  │    │ Validation   │    │ FOPDT        │ │

│  │ Pydantic     │    │ Data Logger  │    │ CSTR         │ │

│  │ Schema       │    │              │    │ Two-Window   │ │

│  └──────────────┘    └──────────────┘    └──────────────┘ │

└─────────────────────────────────────────────────────────────┘

### 2.2 Directory Structure

text

optam-mpc/

├── optam_mpc/                    # Main package

│   ├── __init__.py

│   ├── core/

│   │   ├── __init__.py

│   │   ├── models.py             # Process models (Process, MIMOFOPDT, etc.)

│   │   ├── mpc.py                # MPC controller implementation

│   │   └── controller_modes.py   # Mode management (MANUAL/AUTO/CASCADE)

│   ├── config/

│   │   ├── __init__.py

│   │   ├── schema.py             # Pydantic validation schemas

│   │   └── loader.py             # YAML configuration loading

│   ├── interfaces/

│   │   ├── __init__.py

│   │   ├── opcua_server.py       # OPC UA server for simulation

│   │   ├── opcua_client.py       # OPC UA client for controller

│   │   └── dashboard.py          # Web monitoring dashboard

│   └── utils/

│       ├── __init__.py

│       ├── validation.py         # Input validation helpers

│       └── data_logger.py        # Data logging utilities

├── examples/

│   ├── simple_tank/              # Basic examples

│   ├── digital_twin_demo/        # OPC UA examples

│   ├── two_window_demo/          # Separated simulator and controller

│   └── generate_config_template.py

├── tests/

│   ├── test_models.py            # 14 model tests

│   └── test_mpc.py               # 13 controller tests

├── scripts/

│   └── validate_config.py        # Configuration validation tool

├── docs/

├── venv/                         # Virtual environment

├── pyproject.toml

├── requirements.txt

├── requirements-dev.txt

└── README.md

### 2.3 Data Flow

text

[Process] ↔ [OPC UA Server] ↔ [OPC UA Client] ↔ [MPC Controller]

↕                                      ↕

[Digital Twin]                        [Optimization]

↕                                      ↕

[Dashboard]                           [Data Logger]

## 3. SETUP GUIDE

### 3.1 Prerequisites

- Python 3.10 or higher

- Windows 10/11 (currently tested on Windows)

- Git (for version control)

- Docker Desktop with WSL2 (optional, for FUXA SCADA)

### 3.2 Installation Steps

bash

# 1. Clone repository

git clone https://github.com/pieterSteenekamp/optam-mpc.git

cd optam-mpc

# 2. Create virtual environment

python -m venv venv

# 3. Activate virtual environment (Windows)

venv\Scripts\activate

# 4. Install dependencies

pip install -r requirements-dev.txt

# 5. Install package in development mode

pip install -e .

### 3.3 Running the Examples

Basic MPC Simulation:

bash

python examples/simple_tank/run_mpc_example.py

Two-Window Demo (Simulator + Controller):

bash

# Window 1: Start simulator

python examples/two_window_demo/process_simulator.py

# Window 2: Start controller

python examples/two_window_demo/mpc_controller.py

Run Tests:

bash

python -m pytest tests/ -v

## 4. CODE WALKTHROUGH

### 4.1 Core Models (optam_mpc/core/models.py)

Key Classes:

- Process: Abstract base class defining model interface

  - step(u): Advance one time step

  - reset(y0, u0): Reset to initial conditions

  - clone(): Create independent copy

- MIMOFOPDT: First-order-plus-dead-time model

  - Handles MIMO systems

  - Exact fractional dead time handling

  - Used for most linear applications

- IntegratingTank: Simple integrating process

  - For level/inventory control

- NonlinearCSTR: Nonlinear chemical reactor

  - RK4 integration

  - Demonstrates nonlinear MPC capability

### 4.2 MPC Controller (optam_mpc/core/mpc.py)

Key Features:

- Receding horizon control

- SLSQP optimization (SciPy)

- Constraint handling (input, move, output)

- Soft constraints with slack variables

- Bias correction for model mismatch

- Fallback to hold-last-input on solver failure

- Warm starting from previous solution

Important Methods:

- control(y_measured, reference): Main control loop

- reset(y0, u0): Initialize controller

- _predict(plan): Simulate model forward

- _project_plan(plan): Ensure constraints satisfied

### 4.3 Configuration System

YAML Configuration Example:

yaml

model:

model_type: "fopdt"

dt: 1.0

model_parameters:

K: [[1.5, 0.5], [-0.2, 1.0]]

tau: [[5.0, 3.0], [2.0, 4.0]]

theta: [[2.0, 1.0], [0.0, 1.5]]

mpc:

prediction_horizon: 15

control_horizon: 5

output_weights: [1.0, 1.0]

# ... more settings

Validation:

- Pydantic schemas in config/schema.py

- Automatic type checking

- Clear error messages

### 4.4 OPC UA Integration

Server (interfaces/opcua_server.py):

- Hosts process model as OPC UA server

- Exposes Input and Output nodes

- Simulates process in real-time

Client (interfaces/opcua_client.py):

- Connects to OPC UA server

- Reads measurements (CVs)

- Writes control actions (MVs)

- Handles communication

## 5. DEVELOPMENT GUIDELINES

### 5.1 Coding Standards

- Python 3.10+ with type hints

- NumPy-style docstrings

- PEP 8 compliance

- Line length: 88 characters (Black formatter)

- Linting: Ruff

- Type checking: MyPy

### 5.2 Testing Practices

- pytest for all tests

- Test files in tests/ directory

- Run tests before commits

- Maintain test coverage

- Add tests for new features

### 5.3 Git Workflow

- Feature branches for new work

- Descriptive commit messages

- Don't commit venv/ or __pycache__/

- Update README for significant changes

## 6. LESSONS LEARNED

### 6.1 What Worked Well

- Clean separation of concerns - Models, controller, interfaces are modular

- OPC UA from the start - Enables realistic testing

- Configuration via YAML - Users don't need to write Python

- Two-window architecture - Clean separation of simulator and controller

- Gradual build-up - Started simple, added complexity incrementally

### 6.2 What to Avoid

- Premature optimization - Current SLSQP solver is fast enough for typical applications

- Complex alarm systems - Need careful design to avoid alarm fatigue

- Over-engineering - Keep it simple until requirements are clear

### 6.3 Known Issues

- OPC UA library version differences - Handle both old and new API

- Windows-specific issues - Docker/WSL setup can be tricky

- Solver limitations - SLSQP may struggle with very large problems

### 6.4 Common Pitfalls

- Timing issues - Digital twin and controller must be synchronized

- Constraint violations - Always validate projected plans

- Model mismatch - Bias correction helps but isn't perfect

## 7. ROADMAP

### 7.1 Immediate Next Steps

- Complete controller mode management integration

- Add setpoint ramping and rate limiting

- Implement feed-forward control

- Create comprehensive documentation

- Add more example processes

### 7.2 Medium-Term Goals

- Linear MPC with QP solver (OSQP)

- State estimation (Kalman filter)

- Model identification tools

- FUXA SCADA integration

- Production deployment features

### 7.3 Long-Term Vision

- Multi-unit coordination

- Economic MPC

- Adaptive MPC

- Cloud connectivity

- Industry adoption

### 7.4 Open Questions

- How to handle alarm management without causing fatigue?

- What level of state estimation is needed?

- How to validate models automatically?

- What deployment scenarios to support?

- How to structure the open-source community?

## 8. APPENDICES

### 8.1 Glossary

- MPC: Model Predictive Control

- CV: Controlled Variable (process output)

- MV: Manipulated Variable (process input)

- DV: Disturbance Variable (uncontrolled input)

- OPC UA: Open Platform Communications Unified Architecture

- FOPDT: First-Order Plus Dead Time

- CSTR: Continuous Stirred-Tank Reactor

- SLSQP: Sequential Least Squares Programming

- QP: Quadratic Programming

### 8.2 Useful References

- OPC UA Specification: https://opcfoundation.org/

- SciPy Optimization: https://docs.scipy.org/doc/scipy/reference/optimize.html

- FUXA SCADA: https://github.com/frangoteam/FUXA

- Docker Documentation: https://docs.docker.com/

### 8.3 Key Files to Review First

- optam_mpc/core/mpc.py - Core controller logic

- optam_mpc/core/models.py - Process models

- optam_mpc/interfaces/opcua_client.py - Communication

- examples/two_window_demo/ - Working example

## HANDOVER CHECKLIST

- □

Dirk has access to GitHub repository

- □

Local development environment set up

- □

All tests passing

- □

Two-window demo running

- □

YAML configuration understood

- □

OPC UA communication working

- □

Dashboard accessible

- □

Data logging verified

- □

Next steps agreed

- □

Communication channel established

End of Handover Report